# How to apply for Embedded Networks up to 200kVA

This instruction steps you through how to apply for Embedded Networks up to 200kVA via eConnect.

# Log into eConnect

# Navigate to the side bar and under ‘Embedded Generation & Battery Connection Approval’, select ‘Embedded Generation for Embedded Network’

# Confirm site location details

- Search for site by the Embedded Network Parent NMI or Meter Number. This will populate the address.

- Confirm the address matches the property you are applying for.

# Enter Work Requirements

Complete all fields under ‘Work requirements’, referring to the table below for guidance.

| Work Requirements field | Description |
| --- | --- |
| Generation or battery storage? | Select the Generation type. |
| What backstop mechanism will be utilised at this site? | Select the preferred backstop mechanism. |
| Number of phases inverter/s would be connected to? | How many phases will have solar connected? |
| Proposed total site capacity? (including existing capacity) | What is the total inverter rated output for the site? If this is an upgrade, please factor in the existing installation plus the proposed new installation. |
| Proposed total site export capacity? (including existing capacity) | What is the total proposed export for the site? If this is an upgrade, please factor in the existing export approval plus the proposed new export capacity. |
| Number of parent connection points? | How many parent meters are registered at this site? |
| Number of child connection points? | How many individual child meters are installed within the embedded network? |
| Please provide a brief description of your project | Provide an overview of the installation. |

# Enter Contact Details

- If you are the registered electrical contractor or a licensed electrical worker for the application, select ‘Yes’.

- If you would like to appoint another party as the registered electrical contractor or the licensed electrical worker for the application, select ‘No’.

- Enter their contact details.

- Complete all fields under the ‘Embedded Network Provider Details’ section.

# Attachments

Provide all supporting documents listed at the top of the application.

Each document must be uploaded individually, selecting the relevant document from the drop-down under ‘Document Type’.

# Application submission

- Ensure you read all the Terms and Conditions then click the acceptance box.

- Click the ‘Submit’ button to complete the application.