## B1 - Solution capability & cost
Please complete by providing full details of the proposed solution including costs. If you require further clarification or have any questions please direct them to Procurement@powercor.com.au **Note:Powercor and CitiPower currently have limited ability to identify individual LV circuit constraints. Therefore in 2022, Powercor and CitiPower are only advertising full distribution substation constraints for service provision. Works are underway now to improve LV circuit constraint identification and we hope to offer LV circuits as part of 2023's tender process"
Constraint information | [13 empty] | Tenderer to complete
[14 empty] | Solution details | [7 empty] | Costing details
Priority | Company | Asset name | Asset category | Asset rating (kVA) | Cyclic rating (kVA) | Number of customers | Peak demand (kVA) | Asset utilisation under maximum demand (%) | Demand reduction required under peak demand (kW) | Estimated augmentation cost ($) | Maximum annual augmentation deferral payment ($) | Address | CCT ID | Can address constraint (Yes/No/Partial) | Type of action or technology proposed | Demand reduction achieved (kW) | Proposed dispatching arrangement | Period of notice required to enact service | Delivery of solution on or before 01/12/22 | Expected take up rate (if applicable) | Expected success rate (if applicable) | Fixed costs | Variable costs - $ / kWh | Variable costs - other ($) | Total costs ($)
P3 | UE | VOGUE-HAWTHORN | Substation | 236 | 236 | 118 | 307.536 | 130.3% | 24.336 | 55000 | 1463 | 33 Keen St, Glen Iris VIC 3146 | -
P3 | UE | WOOD-LAWSON | Substation | 372 | 372 | 249 | 504.216 | 135.5% | 57.816 | 55000 | 1463 | 128 Brewer Rd, Bentleigh VIC 3204 | -
P3 | UE | ALBION-ST GEORGES | Substation | 372 | 372 | 155 | 488.229 | 131.2% | 41.829 | 55000 | 1463 | 67 King Arthur Dr, Glen Waverley VIC 3150 | -
P3 | UE | MONIQUE BREESE | Substation | 337 | 337 | 195 | 460.112 | 136.5% | 55.712 | 55000 | 1463 | 23 Breese Rd, Langwarrin VIC 3910 | -
P3 | UE | MELALEUCA FRASER | Substation | 236 | 236 | 157 | 327.8 | 138.9% | 44.6 | 55000 | 1463 | 116 Waverley Rd, Chadstone VIC 3148 | -
P3 | UE | SERENITY JOANNE | Substation | 337 | 337 | 137 | 446.936 | 132.6% | 42.536 | 55000 | 1463 | 35 Serenity Way, Mornington VIC 3931 | -
P3 | UE | HARBOUR OCEANIC | Substation | 337 | 337 | 133 | 455.4375 | 135.1% | 51.0375 | 55000 | 1463 | 38 Nurten Parade, Aspendale Gardens VIC 3195 | -
P3 | UE | PEMBERTON CRAVEN | Substation | 337 | 337 | 121 | 452.96 | 134.4% | 48.56 | 55000 | 1463 | 1 Wodalla Cct, Sandhurst VIC 3977 | -
P3 | UE | DUNLAVIN-PAGE | Substation | 372 | 372 | 243 | 483.952 | 130.1% | 37.552 | 55000 | 1463 | 12 Craven Ct, Sandhurst VIC 3977 | -
P3 | UE | THURLOO-MARGOT | Substation | 372 | 372 | 280 | 480.942 | 129.3% | 34.542 | 55000 | 1463 | 95-99 Albion Rd, Ashburton VIC 3147 | -
P3 | UE | WAYGARA DOVETON | Substation | 236 | 236 | 224 | 313.496 | 132.8% | 30.296 | 55000 | 1463 | 14 Sunnyside Ave, Dandenong VIC 3175 | -
P3 | UE | PURDY SIXTH | Substation | 118 | 118 | 102 | 157.344 | 133.3% | 15.744 | 55000 | 1463 | 21 Robert St, Dandenong VIC 3175 | -
P3 | UE | CARAMUT-GRANDVIEW | Substation | 372 | 372 | 149 | 472.059 | 126.9% | 25.659 | 55000 | 1463 | 1/22 Melaleuca Dr, Glen Waverley VIC 3150 | -
P3 | UE | QUENTIN-RANFURLIE | Substation | 236 | 236 | 156 | 299.264 | 126.8% | 16.064 | 55000 | 1463 | 2C Milton Cres, Box Hill South VIC 3128 | -
P3 | UE | SUNNYSIDE HERBERT | Substation | 236 | 236 | 227 | 307.944 | 130.5% | 24.744 | 55000 | 1463 | 16 Purdy Ave, Dandenong VIC 3175 | -
P3 | UE | ROBERT ANN | Substation | 236 | 236 | 217 | 319.6425 | 135.4% | 36.4425 | 55000 | 1463 | 2 Ferndale Cl, Dingley Village VIC 3172 | -
P3 | UE | MILTON-ELGAR | Substation | 322 | 322 | 185 | 421.255 | 130.8% | 34.855 | 55000 | 1463 | 2/3 Dunloe Ave, Mont Albert VIC 3129 | -
P3 | UE | PARK DENBIGH | Substation | 236 | 236 | 139 | 310.912 | 131.7% | 27.712 | 55000 | 1463 | 8 Denbigh Rd, Seaford VIC 3198 | -
P3 | UE | BIRCH KARINGAL | Substation | 236 | 236 | 132 | 309.92 | 131.3% | 26.72 | 55000 | 1463 | 54 Karingal Dr, Frankston VIC 3199 | -
P3 | UE | JUNE-SERPELLS | Substation | 236 | 236 | 109 | 305.715 | 129.5% | 22.515 | 55000 | 1463 | 9 Serpells Rd, Templestowe VIC 3106 | -
P3 | UE | NORFOLK SOMERSET | Substation | 236 | 236 | 119 | 307.2685 | 130.2% | 24.0685 | 55000 | 1463 | 86 Somerset Dr, Mount Martha VIC 3934 | -
P3 | UE | HIGHETT-BLUFF | Substation | 322 | 322 | 154 | 419.584 | 130.3% | 33.184 | 55000 | 1463 | 465 State Route 19, Hampton VIC 3188 | -
P3 | UE | HERBERT SHANDON | Substation | 236 | 236 | 143 | 314.688 | 133.3% | 31.488 | 55000 | 1463 | 81 Herbert St, Mornington VIC 3931 | -
P3 | UE | PERCIVALE KINGARTHUR | Substation | 236 | 236 | 127 | 312.304 | 132.3% | 29.104 | 55000 | 1463 | 58 Outlook Rd, Mount Waverley VIC 3149 | -
P3 | UE | GEOFFREY CAXTON | Substation | 236 | 236 | 140 | 316.2015 | 134% | 33.0015 | 55000 | 1463 | 31 Geoffrey St, Blairgowrie VIC 3942 | -
P3 | UE | CAM-CROW | Substation | 236 | 236 | 147 | 318.264 | 134.9% | 35.064 | 55000 | 1463 | 228 Hawthorn Rd, Vermont South VIC 3133 | -
P3 | UE | NURTEN BRANNIGAN | Substation | 337 | 337 | 143 | 438.656 | 130.2% | 34.256 | 55000 | 1463 | 1 Serpentine Ct, Waterways VIC 3195 | -
P3 | UE | BREWER-MITCHELL | Substation | 372 | 372 | 193 | 492.296 | 132.3% | 45.896 | 55000 | 1463 | 2 Caramut Rd, Brighton VIC 3186 | -
P3 | UE | ROBERT-WAVERLEY | Substation | 236 | 236 | 148 | 319.4135 | 135.3% | 36.2135 | 55000 | 1463 | 31 St Georges Rd, Elsternwick VIC 3185 | -
P3 | UE | OUTLOOK-SURREY | Substation | 236 | 236 | 133 | 315.3325 | 133.6% | 32.1325 | 55000 | 1463 | 4-2 Cam St, Burwood East VIC 3151 | -
P3 | UE | ETHEREAL WODALLA | Substation | 337 | 337 | 155 | 443.884 | 131.7% | 39.484 | 55000 | 1463 | Cossar Pl, Patterson Lakes VIC 3197 | -
P3 | UE | MORAY-BROWNS | Substation | 372 | 372 | 168 | 489.4435 | 131.6% | 43.0435 | 55000 | 1463 | Wood St, Bentleigh VIC 3204 | -
P3 | UE | EMERALD GARNET | Substation | 337 | 337 | 151 | 443.2925 | 131.5% | 38.8925 | 55000 | 1463 | 19 Emerald Rise, Skye VIC 3977 | -
P3 | UE | HAROLD-CALDERWOOD | Substation | 236 | 236 | 113 | 311.68 | 132.1% | 28.48 | 55000 | 1463 | Harold Street Reserve, 29A Harold St, Bulleen VIC 3105 | -
P3 | UE | DUNLOE-ELGAR | Substation | 236 | 236 | 135 | 318.985 | 135.2% | 35.785 | 55000 | 1463 | DUNLOE AVENUE MONT ALBERT NORTH 3129 | -
P3 | UE | REGENT-SANDHAM | Substation | 322 | 322 | 169 | 431.1475 | 133.9% | 44.7475 | 55000 | 1463 | 73-77 Millewa Ave, Malvern East VIC 3145 | -
P3 | UE | MARY BALMORAL | Substation | 236 | 236 | 168 | 328.3165 | 139.1% | 45.1165 | 55000 | 1463 | 23 Mary St, Safety Beach VIC 3936 | -
P3 | UE | AUSTIN DOWNS | Substation | 236 | 236 | 142 | 321.48 | 136.2% | 38.28 | 55000 | 1463 | 157-169 Austin Rd, Seaford VIC 3198 | -
P3 | UE | LUGANO MONACO | Substation | 236 | 236 | 168 | 328.992 | 139.4% | 45.792 | 55000 | 1463 | 14 Lugano Ave, Dromana VIC 3936 | -
P3 | UE | HUXLEY TIVERTON | Substation | 118 | 118 | 75 | 162.112 | 137.4% | 20.512 | 55000 | 1463 | 7 Moray St, Bentleigh East VIC 3165 | -
P3 | UE | KEEN-MARTIN | Substation | 372 | 372 | 127 | 482.5975 | 129.7% | 36.1975 | 55000 | 1463 | 28 Quentin St, Forest Hill VIC 3131 | -
P3 | UE | AINSLIE FT GULLY | Substation | 118 | 118 | 64 | 159.918 | 135.5% | 18.318 | 55000 | 1463 | FERNTREE GULLY ROAD WHEELERS HILL 3150 | -
P3 | UE | VILLAGE FERNDALE | Substation | 236 | 236 | 105 | 314.5555 | 133.3% | 31.3555 | 55000 | 1463 | 1349 Nepean Hwy Service Rd, Cheltenham VIC 3192 | -
P3 | UE | AQUEDUCT LANGEWAN | Substation | 236 | 236 | 137 | 325.91 | 138.1% | 42.71 | 55000 | 1463 | Langwarrin VIC 3910 | -
P3 | UE | MILLEWA-WAVERLEY | Substation | 372 | 372 | 181 | 504.216 | 135.5% | 57.816 | 55000 | 1463 | 45 Margot St, Chadstone VIC 3148 | -
P3 | UE | BLUFF-TEDDINGTON | Substation | 236 | 236 | 106 | 320.04 | 135.6% | 36.84 | 55000 | 1463 | 52 Tiverton Dr, Mulgrave VIC 3170 | -
P3 | UE | THIRD-NEPEAN | Substation | 236 | 236 | 88 | 316.9845 | 134.3% | 33.7845 | 55000 | 1463 | 13 Third Ave, Rosebud VIC 3939 | -
P3 | UE | WALLINGFORD-NEPEAN | Substation | 236 | 236 | 117 | 327.8 | 138.9% | 44.6 | 55000 | 1463 | 361 Highett Rd, Highett VIC 3190 | -
P3 | UE | HAZEL-ROONEY | Substation | 236 | 236 | 129 | 333.595 | 141.4% | 50.395 | 55000 | 1463 | 39 Hazel Dr, Templestowe Lower VIC 3107 | -
P3 | UE | ISLAND SERPENTINE | Substation | 337 | 337 | 121 | 453.0085 | 134.4% | 48.6085 | 55000 | 1463 | 44 Doveton Ave, Eumemmerring VIC 3177 | -
P3 | UE | RANGEVIEW STABLE | Substation | 236 | 236 | 116 | 329.1295 | 139.5% | 45.9295 | 55000 | 1463 | 67 Rangeview Dr, Skye VIC 3977 | -
P3 | UE | ABBOTT-BEAUMONT 1 | LV Circuit | 218.75 | 218.75 | 140 | 291.076 | 133.4% | 13.3242 | 55000 | 1463 | 39 Abbott St, Sandringham VIC 3191 | 97604012
P3 | UE | AMRON NORMAN 1 | LV Circuit | 173.6111 | 173.6111 | 92 | 226.0398 | 130.5% | 5.8624 | 55000 | 1463 | 3 Norman Ave, Chelsea Heights VIC 3196 | 140280339
P3 | UE | ARDYNE-KANGAROO 2 | LV Circuit | 173.6111 | 173.6111 | 87 | 228.6989 | 132% | 8.3822 | 55000 | 1463 | 82 Ardyne St, Murrumbeena VIC 3163 | 158726359
P3 | UE | BARRY FOAM 2 | LV Circuit | 173.6111 | 173.6111 | 110 | 230.2347 | 132.9% | 10.0405 | 55000 | 1463 | 16 Foam St, Rosebud VIC 3939 | 152998226
P3 | UE | BLUFF BAYVIEW 2 | LV Circuit | 173.6111 | 173.6111 | 73 | 222.5817 | 128.5% | 6.3063 | 55000 | 1463 | 89-97 State Route 19, Black Rock VIC 3193 | 139595680
P3 | UE | BLYTHE-POATH 2 | LV Circuit | 218.75 | 218.75 | 96 | 281.068 | 128.8% | 5.7681 | 55000 | 1463 | 196-198 Poath Rd, Murrumbeena VIC 3163 | 97172237
P3 | UE | BOLINDA-CENTRE 2 | LV Circuit | 218.75 | 218.75 | 101 | 275.463 | 126.2% | 4.0826 | 55000 | 1463 | 5 Bolinda St, Bentleigh VIC 3204 | 97328634
P3 | UE | COLLINS ELIZABETH 2 | LV Circuit | 173.6111 | 173.6111 | 99 | 226.2756 | 130.6% | 6.0859 | 55000 | 1463 | R O W Y, Mentone VIC 3194 | 141902321
P3 | UE | DEAN-FYFE 1 | LV Circuit | 111.1111 | 111.1111 | 55 | 145.5165 | 131.3% | 4.5584 | 55000 | 1463 | 246 High St, Templestowe Lower VIC 3107 | 156411614
P3 | UE | DROMANA NEPEAN 1 | LV Circuit | 173.6111 | 173.6111 | 73 | 221.1823 | 127.7% | 4.9347 | 55000 | 1463 | 21 Nepean Hwy, Safety Beach VIC 3936 | 140981062
P3 | UE | DRYDEN-ASCOT 2 | LV Circuit | 173.6111 | 173.6111 | 94 | 229.6308 | 132.6% | 9.5286 | 55000 | 1463 | 36 Dryden St, Doncaster East VIC 3109 | 117542235
P3 | UE | ELEY-BLKBURN 3 | LV Circuit | 173.6111 | 173.6111 | 108 | 225.1033 | 130% | 8.9779 | 55000 | 1463 | 304 Blackburn Rd, Burwood East VIC 3151 | 117608023
P3 | UE | ELLERY-ATKINSON 1 | LV Circuit | 218.75 | 218.75 | 118 | 288.7675 | 132.3% | 11.1367 | 55000 | 1463 | 14-2 Ellery St, Chadstone VIC 3148 | 97171690
P3 | UE | ELMHURST-MDLBORO 2 | LV Circuit | 218.75 | 218.75 | 124 | 286.919 | 131.5% | 9.3851 | 55000 | 1463 | 456 State Route 23, Box Hill North VIC 3129 | 181977664
P3 | UE | FLORENCE-MITCHAM 1 | LV Circuit | 173.6111 | 173.6111 | 119 | 225.3531 | 130.1% | 5.4701 | 55000 | 1463 | 2A Florence Ave, Donvale VIC 3111 | 141389447
P3 | UE | GLOSSOP DISNEY 1 | LV Circuit | 138.8889 | 138.8889 | 74 | 184.154 | 132.9% | 7.838 | 55000 | 1463 | 62 Disney St, Crib Point VIC 3919 | 141186948
P3 | UE | GRANT OLSON-BOURKE 1 | LV Circuit | 218.75 | 218.75 | 87 | 277.916 | 127.3% | 5.4531 | 55000 | 1463 | Bulleen VIC 3105 | 117543872
P3 | UE | HENDERSON CORRIGAN 2 | LV Circuit | 173.6111 | 173.6111 | 85 | 226.48 | 130.8% | 6.2796 | 55000 | 1463 | Keysborough VIC 3173 | 95508123
P3 | UE | HENNESSY-TENNYSON 1 | LV Circuit | 218.75 | 218.75 | 159 | 285.384 | 130.8% | 12.5471 | 55000 | 1463 | 19 Hennessy Ave, Elwood VIC 3184 | 155421235
P3 | UE | HOLLOWAY-BLUFF 1 | LV Circuit | 173.6111 | 173.6111 | 76 | 220.599 | 127.4% | 4.387 | 55000 | 1463 | 266 Bluff Rd, Sandringham VIC 3191 | 131757115
P3 | UE | KRONE COLLOCOTT 3 | LV Circuit | 218.75 | 218.75 | 109 | 284.0235 | 130.1% | 6.6568 | 55000 | 1463 | 2 Collocott St, Mordialloc VIC 3195 | 130601025
P3 | UE | LALWA-CNTRBY 5 | LV Circuit | 218.75 | 218.75 | 105 | 280.194 | 128.4% | 7.6494 | 55000 | 1463 | 139 State Route 32, Blackburn VIC 3130 | 126944091
P3 | UE | MARCHANT-ADVANTAGE 3 | LV Circuit | 218.75 | 218.75 | 103 | 279.335 | 128% | 5.2469 | 55000 | 1463 | 2 Miller St, Highett VIC 3190 | 132292658
P3 | UE | MEREDITH-BARKLY 3 | LV Circuit | 173.6111 | 173.6111 | 103 | 226.3276 | 130.7% | 6.3647 | 55000 | 1463 | 23-25 Meredith St, Elwood VIC 3184 | 158723837
P3 | UE | MITCHELL JOHNSTONE 1 | LV Circuit | 138.8889 | 138.8889 | 69 | 182.7772 | 131.9% | 6.5334 | 55000 | 1463 | 5 Johnstone St, Seaford VIC 3198 | 188597335
P3 | UE | MOSSGIEL HEATHMERE 1 | LV Circuit | 138.8889 | 138.8889 | 95 | 187.7825 | 135.5% | 11.4419 | 55000 | 1463 | 58E Mossgiel Park Dr, Endeavour Hills VIC 3802 | 173974028
P3 | UE | OAKHAM-MEDHURST 2 | LV Circuit | 277.7778 | 277.7778 | 111 | 352.938 | 127.4% | 6.1296 | 55000 | 1463 | 2B Oakham Ave, Burwood East VIC 3151 | 97641387
P3 | UE | PORTER-CHAPLIN 2 | LV Circuit | 218.75 | 218.75 | 95 | 283.482 | 129.9% | 6.8895 | 55000 | 1463 | 291 Porter St, Templestowe VIC 3106 | 118367175
P3 | UE | ROYDEN-LONSDALE 3 | LV Circuit | 277.7778 | 277.7778 | 174 | 355.9213 | 128.4% | 7.0267 | 55000 | 1463 | 28A Roydon St, Hampton East VIC 3188 | 125635690
P3 | UE | SPRAY PT MELBOURNE 2 | LV Circuit | 173.6111 | 173.6111 | 85 | 226.5505 | 130.8% | 6.546 | 55000 | 1463 | 547 Melbourne Rd, Blairgowrie VIC 3942 | 148467883
P3 | UE | STATION-MORTON 1 | LV Circuit | 218.75 | 218.75 | 103 | 282.8641 | 129.6% | 10.1184 | 55000 | 1463 | 219 Station St, Box Hill South VIC 3128 | 97638113
P3 | UE | STERLING-BEAUMARIS 3 | LV Circuit | 218.75 | 218.75 | 101 | 286.5125 | 131.3% | 8.9998 | 55000 | 1463 | 14 Sterling Ave, Highett VIC 3190 | 172656100
P3 | UE | TARENE KIRKHAM 2 | LV Circuit | 138.8889 | 138.8889 | 79 | 181.7575 | 131.2% | 6.0553 | 55000 | 1463 | 141 Kirkham Rd, Dandenong South VIC 3175 | 95555354
P3 | UE | TOWNSEND GALLAGHERS 1 | LV Circuit | 218.75 | 218.75 | 124 | 282.46 | 129.4% | 6.1866 | 55000 | 1463 | 63 Townsend St, Glen Waverley VIC 3150 | 207594699
P3 | UE | TURNER-PEACE 1 | LV Circuit | 218.75 | 218.75 | 155 | 292.8359 | 134.2% | 15.2889 | 55000 | 1463 | 38-28 Turner Rd, Highett VIC 3190 | 97603986
P3 | UE | VALERIE-THOMPSONS 3 | LV Circuit | 218.75 | 218.75 | 93 | 281.7583 | 129.1% | 5.9756 | 55000 | 1463 | 319 Thompsons Rd, Templestowe Lower VIC 3107 | 117631886
P3 | UE | VINCENT-WATTLETREE 1 | LV Circuit | 218.75 | 218.75 | 97 | 274.0239 | 125.6% | 3.6499 | 55000 | 1463 | 335 Wattletree Rd, Malvern East VIC 3145 | 132489286
P3 | UE | WEEDEN-SVALE 4 | LV Circuit | 138.8889 | 138.8889 | 59 | 177.9904 | 128.5% | 4.9549 | 55000 | 1463 | 14 Cottonwood Ave, Vermont South VIC 3133 | 129712472
P3 | UE | WELLS-FOLKSTONE 2 | LV Circuit | 218.75 | 218.75 | 94 | 277.248 | 127% | 4.6194 | 55000 | 1463 | Beaumaris VIC 3193 | 155403382
P3 | UE | CLEARY CHARLOTTE 1 | LV Circuit | 173.6111 | 173.6111 | 95 | 230.9884 | 133.4% | 10.7553 | 55000 | 1463 | 13 Charlotte St, Clayton South VIC 3169 | 97417377
P3 | UE | PRINCE GLENEAGLES 1 | LV Circuit | 138.8889 | 138.8889 | 69 | 183.4765 | 132.4% | 7.196 | 55000 | 1463 | 2 Ti-Tree Grove, Mornington VIC 3931 | 149743761
P3 | UE | ENTERPRIZE REBECCA 1 | LV Circuit | 138.8889 | 138.8889 | 62 | 182.2972 | 131.6% | 6.0786 | 55000 | 1463 | 9 Enterprize Ave, Chelsea Heights VIC 3196 | 166660651
P3 | UE | BALMORAL REGENT 2 | LV Circuit | 138.8889 | 138.8889 | 86 | 186.5636 | 134.6% | 10.1214 | 55000 | 1463 | 62A Balmoral Ave, Springvale VIC 3171 | 116291942
P3 | UE | WASHINGTON-WATTLE 2 | LV Circuit | 218.75 | 218.75 | 101 | 288.6038 | 132.2% | 11.2742 | 55000 | 1463 | 33-45 Washington Ave, Malvern East VIC 3145 | 97171500
P3 | UE | HOPETOUN-DUDLEY 2 | LV Circuit | 218.75 | 218.75 | 113 | 290.2559 | 133% | 12.8799 | 55000 | 1463 | 32 Dudley St, Mitcham VIC 3132 | 97553099
P3 | UE | ALFREDA-HIGHETT 2 | LV Circuit | 218.75 | 218.75 | 115 | 291.8041 | 133.7% | 14.0141 | 55000 | 1463 | Sandringham VIC 3191 | 97603961
P3 | UE | ESSEX-BAMFIELD 2 | LV Circuit | 218.75 | 218.75 | 90 | 286.8236 | 131.4% | 8.8893 | 55000 | 1463 | 4 Bamfield St, Sandringham VIC 3191 | 158726941
P3 | UE | TEDDINGTON MAY 4 | LV Circuit | 173.6111 | 173.6111 | 47 | 221.6479 | 128% | 5.2862 | 55000 | 1463 | 2 Teddington Rd, Hampton VIC 3188 | 129324158
P3 | UE | HALLEY-LAKE 2 | LV Circuit | 218.75 | 218.75 | 100 | 290.0903 | 132.9% | 13.1693 | 55000 | 1463 | 72 Lake Rd, Blackburn VIC 3130 | 97620565
P3 | UE | CLYDEBANK EDITHVALE 2 | LV Circuit | 173.6111 | 173.6111 | 61 | 226.3338 | 130.7% | 6.1411 | 55000 | 1463 | 13-19 Clydebank Rd, Edithvale VIC 3196 | 193205704
P3 | UE | YUILLE LYONS 1 | LV Circuit | 173.6111 | 173.6111 | 66 | 224.8473 | 129.8% | 8.4835 | 55000 | 1463 | 24 Jamboree Ave, Frankston South VIC 3199 | 97368488
P3 | UE | VIVA-TOORONGA 4 | LV Circuit | 277.7778 | 277.7778 | 103 | 363.1355 | 131% | 11.1429 | 55000 | 1463 | 166 Tooronga Rd, Glen Iris VIC 3146 | 125499457
P3 | UE | BRIGGS HEATHERTON 2 | LV Circuit | 218.75 | 218.75 | 175 | 308.698 | 141.4% | 30.0229 | 55000 | 1463 | 25-15 Briggs Cres, Noble Park VIC 3174 | 156411222
P3 | UE | GOLFWOOD KIMBER 1 | LV Circuit | 138.8889 | 138.8889 | 48 | 181.3438 | 130.9% | 5.359 | 55000 | 1463 | 17 Golfwood Cl, Dingley Village VIC 3172 | 173525945
P3 | UE | JOHNSON COSIER 2 | LV Circuit | 138.8889 | 138.8889 | 60 | 184.4977 | 133.1% | 8.6592 | 55000 | 1463 | 37 Cosier Dr, Noble Park VIC 3174 | 118938842
P3 | UE | SILVERLEAF-JEAN 2 | LV Circuit | 173.6111 | 173.6111 | 77 | 230.5091 | 133.1% | 10.7167 | 55000 | 1463 | 12 Silverleaf Ct, Forest Hill VIC 3131 | 204012319
P3 | UE | BLACK WALLABY SPRINGHILL 1 | LV Circuit | 138.8889 | 138.8889 | 48 | 181.8437 | 131.2% | 5.6488 | 55000 | 1463 | 3 Spring Hill Rd, Langwarrin VIC 3910 | 155404189
P3 | UE | BELLBROOK FROST 1 | LV Circuit | 111.1111 | 111.1111 | 54 | 149.1665 | 134.6% | 8.4178 | 55000 | 1463 | 74 Bellbrook Dr, Dandenong North VIC 3175 | 96658629
P3 | UE | CLAYTON STRELDEN 2 | LV Circuit | 138.8889 | 138.8889 | 74 | 188.3195 | 135.9% | 11.9763 | 55000 | 1463 | 80 Clayton Rd, Clayton VIC 3168 | 122565562
P3 | UE | KENEALLY ALLAN 3 | LV Circuit | 138.8889 | 138.8889 | 67 | 186.9633 | 134.9% | 10.5001 | 55000 | 1463 | Dandenong VIC 3175 | 208243752
P3 | UE | MULGRAVE-JORDAN 3 | LV Circuit | 218.75 | 218.75 | 104 | 293.2306 | 134.4% | 15.6633 | 55000 | 1463 | 16 Mulgrave St, Ashwood VIC 3147 | 131122467
P3 | UE | WEBB BARRY 1 | LV Circuit | 111.1111 | 111.1111 | 50 | 148.0032 | 133.5% | 6.9148 | 55000 | 1463 | 5 Barry St, Seaford VIC 3198 | 182475329
P3 | UE | EBB LAURA 1 | LV Circuit | 277.7778 | 277.7778 | 103 | 365.9608 | 132.1% | 13.4519 | 55000 | 1463 | 1-9 Ebb St, Aspendale VIC 3195 | 97518321
P3 | UE | BRUNNING-LOBATOR 1 | LV Circuit | 111.1111 | 111.1111 | 67 | 153.0747 | 138.1% | 11.7206 | 55000 | 1463 | 32-28 Brunning Cres, Frankston North VIC 3200 | 169540677
P3 | UE | HUNTINGDALE-ARTHUR 3 | LV Circuit | 138.8889 | 138.8889 | 79 | 188.8218 | 136.3% | 12.4778 | 55000 | 1463 | Mount Waverley VIC 3149 | 193194968
P3 | UE | CANTERBURY-PARK 1 | LV Circuit | 138.8889 | 138.8889 | 85 | 189.378 | 136.7% | 16.108 | 55000 | 1463 | 439-449 Canterbury Rd, Vermont VIC 3133 | 123841022
P3 | UE | WISE MARTHA 1 | LV Circuit | 138.8889 | 138.8889 | 75 | 189.3034 | 136.6% | 12.9096 | 55000 | 1463 | 9M Wise Ave, Seaford VIC 3198 | 134488126
P3 | UE | BURKE KNOX 2 | LV Circuit | 173.6111 | 173.6111 | 55 | 225.522 | 130.2% | 9.104 | 55000 | 1463 | 118-112 Burke Rd, Malvern East VIC 3145 | 191037338
P3 | UE | CASSIA HILLCREST 8 | LV Circuit | 138.8889 | 138.8889 | 74 | 189.7421 | 136.9% | 13.1334 | 55000 | 1463 | 2 Cassia Grove, Frankston VIC 3199 | 95549925
P3 | UE | ROSS-ELIZABETH 1 | LV Circuit | 138.8889 | 138.8889 | 96 | 193.7392 | 139.8% | 20.3172 | 55000 | 1463 | 26 Ross St, Doncaster East VIC 3109 | 158725797
P3 | UE | HILLCREST-EUMERELLA 1 | LV Circuit | 218.75 | 218.75 | 108 | 296.9519 | 136.1% | 18.8922 | 55000 | 1463 | 22 Eumeralla Rd, Caulfield South VIC 3162 | 120278775
P3 | UE | EALING SPRING 2 | LV Circuit | 86.8056 | 86.8056 | 46 | 117.2078 | 135.3% | 7.0029 | 55000 | 1463 | 47 Spring Rd, Springvale South VIC 3172 | 132082558
P3 | UE | LUGANO MONACO 1 | LV Circuit | 138.8889 | 138.8889 | 82 | 191.9626 | 138.5% | 15.2375 | 55000 | 1463 | 14 Lugano Ave, Dromana VIC 3936 | 134778773
P3 | UE | GRIMWADE PANMURE 1 | LV Circuit | 138.8889 | 138.8889 | 55 | 185.086 | 133.6% | 8.9089 | 55000 | 1463 | 1 Panmure St, Frankston VIC 3199 | 97369934
P3 | UE | FANTAIL LYREBIRD 2 | LV Circuit | 138.8889 | 138.8889 | 60 | 186.9876 | 134.9% | 10.5231 | 55000 | 1463 | 2 Fantail Ct, Carrum Downs VIC 3201 | 201291099
P3 | UE | AXFORD-OLD DANDENONG 1 | LV Circuit | 173.6111 | 173.6111 | 94 | 237.0816 | 136.9% | 20.1609 | 55000 | 1463 | 16 Barkers St, Oakleigh South VIC 3167 | 99257036
P3 | UE | MURRAY-PRINCE EDWARD 3 | LV Circuit | 173.6111 | 173.6111 | 66 | 229.6025 | 132.6% | 9.4713 | 55000 | 1463 | Murray Rd, Ormond VIC 3204 | 169960325
P3 | UE | KINGSTON WATTLETREE N379 1 | LV Circuit | 138.8889 | 138.8889 | 59 | 185.1644 | 133.6% | 8.9833 | 55000 | 1463 | 379 Wattletree Rd, Malvern East VIC 3145 | 135117415
P3 | UE | MCCLELLAND LIGHTWOOD 4 | LV Circuit | 138.8889 | 138.8889 | 68 | 189.0108 | 136.4% | 12.4404 | 55000 | 1463 | 2 Oriana Grove, Skye VIC 3977 | 129710973
P3 | UE | LEICESTER ELIZAWAY 1 | LV Circuit | 138.8889 | 138.8889 | 92 | 194.7844 | 140.6% | 18.109 | 55000 | 1463 | 1a Leicester Ave, Mount Eliza VIC 3930 | 110901361
P3 | UE | NEWMAN-OAKLEIGH 2 | LV Circuit | 218.75 | 218.75 | 118 | 300.3943 | 137.6% | 22.4788 | 55000 | 1463 | 11-21 Newman Ave, Carnegie VIC 3163 | 97172113
P3 | UE | HOWARD-WAVERLEY 4 | LV Circuit | 173.6111 | 173.6111 | 73 | 231.9454 | 133.9% | 11.6939 | 55000 | 1463 | 215 Waverley Rd, Mount Waverley VIC 3149 | 128314137
P3 | UE | OSWALD-ELSTER 1 | LV Circuit | 218.75 | 218.75 | 89 | 293.091 | 134.3% | 15.5309 | 55000 | 1463 | 2 Oswald St, Elsternwick VIC 3185 | 95284094
P3 | UE | LUDSTONE-EARLSFIELD 2 | LV Circuit | 218.75 | 218.75 | 80 | 289.372 | 132.6% | 16.537 | 55000 | 1463 | Hampton VIC 3188 | 141899459
P3 | UE | THIRD DENVER 2 | LV Circuit | 173.6111 | 173.6111 | 68 | 232.3146 | 134.1% | 12.0749 | 55000 | 1463 | 20 Denver Cres, Rowville VIC 3178 | 158725247
P3 | UE | WANDA MACKIE 1 | LV Circuit | 218.75 | 218.75 | 124 | 301.0092 | 137.9% | 28.0134 | 55000 | 1463 | Mulgrave VIC 3170 | 95313845
P3 | UE | OBAN HEATHMERE 1 | LV Circuit | 138.8889 | 138.8889 | 80 | 193.6153 | 139.7% | 17 | 55000 | 1463 | 22E Oban Cl, Endeavour Hills VIC 3802 | 173311593
P3 | UE | BORONIA-BROUGHTON 2 | LV Circuit | 277.7778 | 277.7778 | 99 | 368.1606 | 132.8% | 15.9098 | 55000 | 1463 | 20-4 Boronia St, Surrey Hills VIC 3127 | 116262878
P3 | UE | HOPE BURKE 1 | LV Circuit | 218.75 | 218.75 | 96 | 293.6567 | 134.6% | 20.6785 | 55000 | 1463 | 173 Burke Rd, Glen Iris VIC 3146 | 97328968
P3 | UE | PINE FTON DNONG 1 | LV Circuit | 138.8889 | 138.8889 | 101 | 199.7426 | 144.2% | 22.6099 | 55000 | 1463 | 245 Frankston - Dandenong Rd, Frankston North VIC 3200 | 134071242
P3 | UE | ST MITCHELL CARLA 1 | LV Circuit | 138.8889 | 138.8889 | 48 | 184.1706 | 132.9% | 8.0406 | 55000 | 1463 | 2 Samantha Dr, Mornington VIC 3931 | 209527261
P3 | UE | NIBLICK FEATHERY 1 | LV Circuit | 138.8889 | 138.8889 | 44 | 181.0951 | 130.7% | 7.869 | 55000 | 1463 | 2 Niblick Cct, Sandhurst VIC 3977 | 156626496
P3 | UE | PARK DENBIGH 2 | LV Circuit | 138.8889 | 138.8889 | 66 | 188.1637 | 135.8% | 11.8285 | 55000 | 1463 | 8 Denbigh Rd, Seaford VIC 3198 | 173314403
P3 | UE | GREENWAYS CROSBY 1 | LV Circuit | 138.8889 | 138.8889 | 63 | 188.3508 | 135.9% | 11.815 | 55000 | 1463 | 18 Crosby Dr, Glen Waverley VIC 3150 | 97435728
P3 | UE | MARRIOT BAMBRA 1 | LV Circuit | 218.75 | 218.75 | 82 | 292.2664 | 133.9% | 14.7486 | 55000 | 1463 | 3 Marriott St, Caulfield VIC 3162 | 133084649
P3 | UE | ROTHSCHILD-LAURA 2 | LV Circuit | 218.75 | 218.75 | 63 | 286.4768 | 131.3% | 9.2755 | 55000 | 1463 | 19 Latrobe St, Caulfield South VIC 3162 | 118900625
P3 | UE | RIX-PARKIN 2 | LV Circuit | 218.75 | 218.75 | 102 | 299.0947 | 137% | 21.2261 | 55000 | 1463 | 1-9 Rix St, Glen Iris VIC 3146 | 97329049
P3 | UE | LANDSCAPE-TAURUS 1 | LV Circuit | 173.6111 | 173.6111 | 68 | 233.6908 | 134.9% | 13.1126 | 55000 | 1463 | 1 McCubbin Terrace, Doncaster East VIC 3109 | 99675726
P3 | UE | CUMMINS-NEPEAN 2 | LV Circuit | 218.75 | 218.75 | 65 | 287.0109 | 131.5% | 9.7632 | 55000 | 1463 | 72 Cummins Rd, Brighton East VIC 3187 | 205755665
P3 | UE | LUM SHERRINGHAM 1 | LV Circuit | 218.75 | 218.75 | 58 | 284.9579 | 130.6% | 7.8535 | 55000 | 1463 | 113 Lum Rd, Wheelers Hill VIC 3150 | 154879067
P3 | UE | WELLINGTON VILLAGE BRAEBURN 3 | LV Circuit | 138.8889 | 138.8889 | 56 | 186.825 | 134.8% | 10.8709 | 55000 | 1463 | Wellington Village Shopping Centre, 17/1100 Wellington Rd, Rowville VIC 3178 | 171992265
P3 | UE | MAROUBRA KINGSCLERE 2 | LV Circuit | 138.8889 | 138.8889 | 79 | 193.458 | 139.6% | 16.6546 | 55000 | 1463 | 2 Cronulla Ct, Noble Park VIC 3174 | 95508014
P3 | UE | MANNA GUM PARKSIDE 4 | LV Circuit | 138.8889 | 138.8889 | 41 | 183.2232 | 132.2% | 6.956 | 55000 | 1463 | 45 Parkside Cres, Mornington VIC 3931 | 190757617
P3 | UE | NORWOOD-MILLS 2 | LV Circuit | 218.75 | 218.75 | 82 | 294.0459 | 134.7% | 16.9282 | 55000 | 1463 | Norwood St, Glen Iris VIC 3146 | 97526501
P3 | UE | WESTGARTH-CENTRAL PARK 3 | LV Circuit | 218.75 | 218.75 | 61 | 288.1315 | 132% | 10.8262 | 55000 | 1463 | 13 Central Park Rd, Malvern East VIC 3145 | 127925823
P3 | UE | BELUGA CHOPARD 2 | LV Circuit | 138.8889 | 138.8889 | 38 | 181.4196 | 130.9% | 5.4309 | 55000 | 1463 | 5 Chopard Ave, Waterways VIC 3195 | 133856500
P3 | UE | SARGOOD-MYRTLE 4 | LV Circuit | 138.8889 | 138.8889 | 53 | 185.9153 | 134.2% | 9.6957 | 55000 | 1463 | 30-34 Sargood St, Hampton VIC 3188 | 127483420
P3 | UE | HOLLAND-PIPPIN 2 | LV Circuit | 218.75 | 218.75 | 97 | 299.2677 | 137.1% | 21.8904 | 55000 | 1463 | 1 Pippin Ave, Burwood East VIC 3151 | 97641384
P3 | UE | CARLINGA-DEVLIN 1 | LV Circuit | 173.6111 | 173.6111 | 76 | 237.4495 | 137.1% | 16.9466 | 55000 | 1463 | 12 Carlinga Dr, Vermont VIC 3133 | 196361796
P3 | UE | PARKVIEW-PARK 1 | LV Circuit | 138.8889 | 138.8889 | 91 | 198.0005 | 142.9% | 24.2622 | 55000 | 1463 | 22 Park Ave, Doncaster VIC 3108 | 115929301
P3 | UE | KULNINE-NYMPH 2 | LV Circuit | 218.75 | 218.75 | 125 | 308.7472 | 141.5% | 30.0695 | 55000 | 1463 | 15 Kulnine Ave, Mitcham VIC 3132 | 186307518
P3 | UE | YALLAMBEE ALBANY 2 | LV Circuit | 218.75 | 218.75 | 99 | 300.0325 | 137.5% | 22.1157 | 55000 | 1463 | 42 Albany Cres, Aspendale VIC 3195 | 99620910
P3 | UE | DURRANT-WILLANSBY 5 | LV Circuit | 173.6111 | 173.6111 | 55 | 231.1576 | 133.5% | 10.9618 | 55000 | 1463 | 23 Durrant St, Brighton VIC 3186 | 127782360
P3 | UE | BENWERRIN-BALMORAL 2 | LV Circuit | 218.75 | 218.75 | 95 | 300.3007 | 137.6% | 22.4099 | 55000 | 1463 | 6 Benwerrin Rd, Surrey Hills VIC 3127 | 107612550
P3 | UE | ELIZABETH GLEN EIRA 2 | LV Circuit | 138.8889 | 138.8889 | 37 | 181.9349 | 131.3% | 5.8955 | 55000 | 1463 | 178 Glen Eira Rd, Elsternwick VIC 3185 | 131562825
P3 | UE | THIRD NEPEAN 2 | LV Circuit | 111.1111 | 111.1111 | 68 | 158.1019 | 142.6% | 19.1114 | 55000 | 1463 | 13 Third Ave, Rosebud VIC 3939 | 149742366
P3 | UE | WALLACE HILLCREST 3 | LV Circuit | 138.8889 | 138.8889 | 68 | 193.5287 | 139.7% | 16.7216 | 55000 | 1463 | 38 Hillcrest Rd, Frankston VIC 3199 | 206461300
P3 | UE | SASSELLA-MCGUINESS 1 | LV Circuit | 218.75 | 218.75 | 87 | 298.6326 | 136.8% | 20.7877 | 55000 | 1463 | 16 McGuinness Rd, Bentleigh East VIC 3165 | 163298770
P3 | UE | PEMBERTON CRAVEN 2 | LV Circuit | 138.8889 | 138.8889 | 45 | 184.4821 | 133.1% | 8.336 | 55000 | 1463 | 12 Craven Ct, Sandhurst VIC 3977 | 193206708
P3 | UE | FRALLON KARINGAL 2 | LV Circuit | 173.6111 | 173.6111 | 75 | 237.1583 | 136.9% | 20.3548 | 55000 | 1463 | 8 Karingal Dr, Frankston VIC 3199 | 140279868
P3 | UE | MCCORMICKS GAMBLE 1 | LV Circuit | 138.8889 | 138.8889 | 92 | 201.1485 | 145.2% | 24.1461 | 55000 | 1463 | 60 McCormicks Rd, Skye VIC 3977 | 146679743
P3 | UE | GYMPIE-CUTHBERT 1 | LV Circuit | 173.6111 | 173.6111 | 42 | 227.37 | 131.3% | 7.3233 | 55000 | 1463 | 2 Doyle St, Bulleen VIC 3105 | 118655874
P3 | UE | THE CREST JASPER 2 | LV Circuit | 138.8889 | 138.8889 | 63 | 191.8595 | 138.5% | 15.1398 | 55000 | 1463 | 25 Jasper Terrace, Frankston South VIC 3199 | 155404741
P3 | UE | OAKPARK-SWANSON 1 | LV Circuit | 138.8889 | 138.8889 | 62 | 192.1691 | 138.7% | 15.6281 | 55000 | 1463 | 2-4 Oakpark Dr, Chadstone VIC 3148 | 97171600
P3 | UE | CAMPBELL BREWER 2 | LV Circuit | 173.6111 | 173.6111 | 73 | 237.308 | 137% | 16.8123 | 55000 | 1463 | 3 Campbell St, Bentleigh VIC 3204 | 158726545
P3 | UE | OCEANIC HARBOUR 1 | LV Circuit | 138.8889 | 138.8889 | 48 | 187.6953 | 135.5% | 11.3842 | 55000 | 1463 | Cossar Pl, Patterson Lakes VIC 3197 | 108377294
P3 | UE | NEW SOUTH 3 | LV Circuit | 218.75 | 218.75 | 81 | 298.2236 | 136.7% | 20.0973 | 55000 | 1463 | 29B New St, Brighton VIC 3186 | 206227040
P3 | UE | BARRY FELLOWES 2 | LV Circuit | 138.8889 | 138.8889 | 94 | 205.024 | 148% | 27.6145 | 55000 | 1463 | 42-28 Barry St, Seaford VIC 3198 | 97369899
P3 | UE | BROWNFIELD-DAVEY 2 | LV Circuit | 218.75 | 218.75 | 79 | 295.797 | 135.5% | 17.7979 | 55000 | 1463 | 48 Davey St, Parkdale VIC 3195 | 154320291
P3 | UE | DALGETTY-HOTHAM 3 | LV Circuit | 173.6111 | 173.6111 | 42 | 227.9782 | 131.6% | 7.9001 | 55000 | 1463 | 133 Dalgetty Rd, Beaumaris VIC 3193 | 133665366
P3 | UE | NURTEN BRANNIGAN 2 | LV Circuit | 138.8889 | 138.8889 | 50 | 187.8771 | 135.6% | 11.5566 | 55000 | 1463 | 38 Nurten Parade, Aspendale Gardens VIC 3195 | 134068809
P3 | UE | NOVA-HAVERSHAM 4 | LV Circuit | 138.8889 | 138.8889 | 55 | 190.5007 | 137.5% | 13.8522 | 55000 | 1463 | 7A Nova Ct, Wheelers Hill VIC 3150 | 128358895
P3 | UE | BRUARONG GRANGE 1 | LV Circuit | 173.6111 | 173.6111 | 85 | 243.166 | 140.4% | 22.3379 | 55000 | 1463 | 29 Grange Rd, Frankston South VIC 3199 | 97368563
P3 | UE | WATERWAYS SPRINGVALE 3 | LV Circuit | 138.8889 | 138.8889 | 38 | 183.0992 | 132.1% | 7.0242 | 55000 | 1463 | Waterways VIC 3195 | 181740922
P3 | UE | ROSEDALE HAZELDINE 2 | LV Circuit | 218.75 | 218.75 | 52 | 286.2019 | 131.1% | 8.9958 | 55000 | 1463 | 16-8 Rosedale Rd, Glen Iris VIC 3146 | 133084230
P3 | UE | ALISON-MCKINNON 1 | LV Circuit | 218.75 | 218.75 | 104 | 306.2373 | 140.3% | 28.0219 | 55000 | 1463 | 274 McKinnon Rd, McKinnon VIC 3204 | 188130861
P3 | UE | HAROLD TROYS 1 | LV Circuit | 138.8889 | 138.8889 | 79 | 197.0917 | 142.2% | 23.2861 | 55000 | 1463 | 42 Troy St, Bonbeach VIC 3196 | 179902959
P3 | UE | MANNING-DARLING 4 | LV Circuit | 218.75 | 218.75 | 65 | 291.5958 | 133.6% | 13.8168 | 55000 | 1463 | 165 Manning Rd, Malvern East VIC 3145 | 131224521
P3 | UE | BURNELL KOETONG 1 | LV Circuit | 173.6111 | 173.6111 | 55 | 233.5491 | 134.8% | 13.2151 | 55000 | 1463 | 13-19 Burnell St, Mount Eliza VIC 3930 | 156626370
P3 | UE | PARK MCKENZIE 1 | LV Circuit | 173.6111 | 173.6111 | 72 | 238.6385 | 137.8% | 18.043 | 55000 | 1463 | 1-3 Park St, Seaford VIC 3198 | 155402722
P3 | UE | VERBENA-KOONUNG 3 | LV Circuit | 173.6111 | 173.6111 | 59 | 233.714 | 134.9% | 13.3715 | 55000 | 1463 | 22 Koonung Rd, Blackburn North VIC 3130 | 128280623
P3 | UE | PACIFIC ROWDEN 2 | LV Circuit | 138.8889 | 138.8889 | 43 | 186.0255 | 134.3% | 9.8002 | 55000 | 1463 | 2 Rowdon Pl, Aspendale Gardens VIC 3195 | 159999267
P3 | UE | WARREGO JARDINE 1 | LV Circuit | 138.8889 | 138.8889 | 38 | 183.5984 | 132.5% | 7.3116 | 55000 | 1463 | 75A Sandhurst Blvd, Sandhurst VIC 3977 | 130746854
P3 | UE | PLAIN GUEST 1 | LV Circuit | 173.6111 | 173.6111 | 98 | 249.4596 | 144% | 28.2749 | 55000 | 1463 | 107 Guest St, Tootgarook VIC 3941 | 152997683
P3 | UE | COORONG BINGLEBAY 4 | LV Circuit | 138.8889 | 138.8889 | 48 | 188.7031 | 136.2% | 12.3401 | 55000 | 1463 | 7 Coorong Cir, Waterways VIC 3195 | 125040997
P3 | UE | WARADGERY MUIRFIELD 4 | LV Circuit | 138.8889 | 138.8889 | 58 | 191.3606 | 138.1% | 14.8611 | 55000 | 1463 | 96 Waradgery Dr, Rowville VIC 3178 | 107676113
P3 | UE | BORONIA-CENTRE 2 | LV Circuit | 173.6111 | 173.6111 | 73 | 239.3683 | 138.2% | 18.4926 | 55000 | 1463 | 88 State Route 36, Vermont VIC 3133 | 97552894
P3 | UE | SHEFFIELD-WARWICK 2 | LV Circuit | 173.6111 | 173.6111 | 85 | 244.4325 | 141.1% | 23.9479 | 55000 | 1463 | 12-2 Sheffield St, Bentleigh East VIC 3165 | 97172159
P3 | UE | COAST BANKSIA CIRRUS 3 | LV Circuit | 138.8889 | 138.8889 | 54 | 191.5922 | 138.3% | 15.0809 | 55000 | 1463 | 10 Coast Banksia Dr, Bonbeach VIC 3196 | 127024751
P3 | UE | WILLIAM-MANNINGHAM 4 | LV Circuit | 111.1111 | 111.1111 | 61 | 160.5985 | 144.9% | 18.8501 | 55000 | 1463 | 2 William St, Bulleen VIC 3105 | 206244569
P3 | UE | RUFFEY-JAMES 2 | LV Circuit | 173.6111 | 173.6111 | 49 | 231.8508 | 133.9% | 11.9916 | 55000 | 1463 | 25A Ruffey St, Templestowe Lower VIC 3107 | 117606974
P3 | UE | CARAMUT-GRANDVIEW 1 | LV Circuit | 218.75 | 218.75 | 96 | 306.291 | 140.3% | 28.0526 | 55000 | 1463 | 2 Caramut Rd, Brighton VIC 3186 | 167741899
P3 | UE | KING GEORGE NUNNS 1 | LV Circuit | 138.8889 | 138.8889 | 55 | 192.176 | 138.7% | 15.4397 | 55000 | 1463 | 30-16 King Georges Ave, Mornington VIC 3931 | 146688974
P3 | UE | SANOMA RHONE 6 | LV Circuit | 138.8889 | 138.8889 | 49 | 189.4634 | 136.7% | 13.0614 | 55000 | 1463 | 47 Sanoma Dr, Skye VIC 3977 | 129300297
P3 | UE | VICTORIA-WELLINGTON 4 | LV Circuit | 218.75 | 218.75 | 57 | 290.4963 | 133.1% | 12.7749 | 55000 | 1463 | 16-4 Victoria St, Brighton VIC 3186 | 128632404
P3 | UE | AUSTIN MORGAN 2 | LV Circuit | 111.1111 | 111.1111 | 59 | 158.3223 | 142.8% | 16.6932 | 55000 | 1463 | 95 Austin Ave, McCrae VIC 3938 | 180009090
P3 | UE | LUDSTONE SMITH 2 | LV Circuit | 173.6111 | 173.6111 | 82 | 246.2384 | 142.2% | 25.0027 | 55000 | 1463 | 157-181 Ludstone St, Hampton VIC 3188 | 131157443
P3 | UE | WELWYN-SUNLIGHT 1 | LV Circuit | 218.75 | 218.75 | 52 | 288.0773 | 132% | 10.4827 | 55000 | 1463 | 33 Welwyn Ave, Brighton East VIC 3187 | 211136094
P3 | UE | LADY EMILY COACH HOUSE 3 | LV Circuit | 138.8889 | 138.8889 | 63 | 195.5345 | 141.1% | 18.8205 | 55000 | 1463 | 8 Lady Emily Way, Skye VIC 3977 | 133606036
P3 | UE | COLLINGTON-CHURCH 2 | LV Circuit | 218.75 | 218.75 | 72 | 296.704 | 136% | 18.9779 | 55000 | 1463 | 2A Collington Ave, Brighton VIC 3186 | 94343907
P3 | UE | GLADESVILLE NANDA 2 | LV Circuit | 173.6111 | 173.6111 | 64 | 238.6271 | 137.8% | 17.7902 | 55000 | 1463 | 41 Gladesville Blvd, Patterson Lakes VIC 3197 | 173758508
P3 | UE | MACKIE-UNION 2 | LV Circuit | 218.75 | 218.75 | 71 | 296.9736 | 136.1% | 19.214 | 55000 | 1463 | 109 Union St, Brighton East VIC 3187 | 97328509
P3 | UE | RAYNES PARK MAY 2 | LV Circuit | 138.8889 | 138.8889 | 38 | 184.8492 | 133.4% | 8.4968 | 55000 | 1463 | Raynes Park Rd, Hampton VIC 3188 | 132121319
P3 | UE | HENSLEY CONRAN 1 | LV Circuit | 138.8889 | 138.8889 | 59 | 193.1662 | 139.4% | 16.8968 | 55000 | 1463 | 16 Hensley Ct, Endeavour Hills VIC 3802 | 174655652
P3 | UE | AUSTIN ERWIN 2 | LV Circuit | 111.1111 | 111.1111 | 48 | 156.4394 | 141.1% | 14.909 | 55000 | 1463 | 37-43 Austin Rd, Seaford VIC 3198 | 148260263
P3 | UE | BRADY WINGATE 2 | LV Circuit | 218.75 | 218.75 | 74 | 300.2029 | 137.6% | 22.2773 | 55000 | 1463 | 9-11 Brady Rd, Bentleigh East VIC 3165 | 133120452
P3 | UE | WATTS-PAYNES 3 | LV Circuit | 111.1111 | 111.1111 | 51 | 156.5914 | 141.3% | 15.4735 | 55000 | 1463 | 5 Watts St, Box Hill VIC 3128 | 131330105
P3 | UE | PALM BEACH KEELING 2 | LV Circuit | 138.8889 | 138.8889 | 44 | 188.0519 | 135.7% | 11.5317 | 55000 | 1463 | 104 Palm Beach Dr, Patterson Lakes VIC 3197 | 173764677
P3 | UE | AIRLIE ARMSTRONGS 1 | LV Circuit | 111.1111 | 111.1111 | 31 | 148.1614 | 133.7% | 7.2149 | 55000 | 1463 | 18 Airlie Grove, Seaford VIC 3198 | 129524686
P3 | UE | VOGUE-HAWTHORN 1 | LV Circuit | 218.75 | 218.75 | 72 | 298.4303 | 136.7% | 21.0947 | 55000 | 1463 | 228 Hawthorn Rd, Vermont South VIC 3133 | 99673401
P3 | UE | WIMBLEDON WIMBORNE 2 | LV Circuit | 111.1111 | 111.1111 | 36 | 151.664 | 136.8% | 10.3838 | 55000 | 1463 | 114 Wimbledon Ave, Mount Eliza VIC 3930 | 110901375
P3 | UE | MADIGAN NORTHAM 7 | LV Circuit | 138.8889 | 138.8889 | 48 | 192.079 | 138.6% | 15.3478 | 55000 | 1463 | 13 Currie Terrace, Glen Waverley VIC 3150 | 118651959
P3 | UE | ST JAMES-AMBER 1 | LV Circuit | 138.8889 | 138.8889 | 35 | 185.9181 | 134.2% | 9.6982 | 55000 | 1463 | Cora Lynn Park, Brighton VIC 3186 | 97468935
P3 | UE | MORANG-CHATSWORTH 2 | LV Circuit | 138.8889 | 138.8889 | 43 | 189.2259 | 136.6% | 13.1524 | 55000 | 1463 | 9-3 Morang Ave, Templestowe Lower VIC 3107 | 117543199
P3 | UE | ROSCIUS-LADY NEL 4 | LV Circuit | 138.8889 | 138.8889 | 35 | 186.5237 | 134.6% | 10.248 | 55000 | 1463 | 2A Roscius Pl, Sorrento VIC 3943 | 156186722
P3 | UE | CYPRESS DUNEARN 2 | LV Circuit | 138.8889 | 138.8889 | 87 | 178.783 | 129% | 5.8825 | 55000 | 1463 | 1 Cypress Grove, Dandenong North VIC 3175 | 95556389
P3 | UE | IKARA DUNNS 2 | LV Circuit | 173.6111 | 173.6111 | 88 | 224.8512 | 129.8% | 5.1135 | 55000 | 1463 | 13 Ikara St, Mornington VIC 3931 | 149744134
P3 | UE | WEEROONA BRIGHTS 1 | LV Circuit | 138.8889 | 138.8889 | 62 | 182.4644 | 131.7% | 6.2369 | 55000 | 1463 | 132 Weeroona St, Rye VIC 3941 | 133855919
P3 | UE | MULGOA GLADSTONE 2 | LV Circuit | 111.1111 | 111.1111 | 52 | 145.7447 | 131.5% | 4.9418 | 55000 | 1463 | 2-6 Mulgoa Ave, Dandenong North VIC 3175 | 95556343
P3 | UE | KELVIN NEPEAN 1 | LV Circuit | 138.8889 | 138.8889 | 58 | 183.8557 | 132.7% | 7.5554 | 55000 | 1463 | 351 Nepean Hwy, Chelsea VIC 3196 | 137498790
P3 | UE | INDRA FULTON 2 | LV Circuit | 173.6111 | 173.6111 | 62 | 228.2893 | 131.8% | 8.2256 | 55000 | 1463 | Blackburn South VIC 3130 | 129043633
P3 | UE | WESTON ADISON 3 | LV Circuit | 104.1667 | 104.1667 | 34 | 137.6029 | 132.4% | 5.5323 | 55000 | 1463 | 38 Weston St, Keysborough VIC 3173 | 153769062
P3 | UE | HELMICH BIANCA 3 | LV Circuit | 138.8889 | 138.8889 | 45 | 183.4208 | 132.4% | 7.3293 | 55000 | 1463 | 1 Helmich Ct, Aspendale Gardens VIC 3195 | 173528231
P3 | UE | CENTRAL FIRST 1 | LV Circuit | 218.75 | 218.75 | 58 | 286.3198 | 131.2% | 9.1077 | 55000 | 1463 | 6 Central Ave, Black Rock VIC 3193 | 142137422
P3 | UE | MACKINTOSH LUM 2 | LV Circuit | 218.75 | 218.75 | 44 | 286.7188 | 131.4% | 9.448 | 55000 | 1463 | 57 Lum Rd, Wheelers Hill VIC 3150 | 126870281
P3 | UE | MAUDE-KNEALE 2 | LV Circuit | 173.6111 | 173.6111 | 81 | 219.3612 | 126.6% | 3.4626 | 55000 | 1463 | 11 Kneale Dr, Box Hill North VIC 3129 | 97608652
P3 | UE | FTN FLIND CRESWELL 6 | LV Circuit | 218.75 | 218.75 | 75 | 271.7475 | 124.5% | 2.9653 | 55000 | 1463 | Bittern VIC 3918 | 130581287
P3 | UE | PORTER-CHURCH 2 | LV Circuit | 173.6111 | 173.6111 | 63 | 224.4714 | 129.6% | 4.9993 | 55000 | 1463 | Templestowe VIC 3106 | 130581287
P3 | UE | CAMPBELLS SAHARA 1 | LV Circuit | 218.75 | 218.75 | 36 | 278.928 | 127.8% | 5.1246 | 55000 | 1463 | Portsea VIC 3944 | 187423149
P3 | PAL | BURLEIGH LANSDOWNE 4 | Substation | 100 | 150 | 101 | 125.1324 | 125.1% | 25.1324 | 39000 | 1107.6 | Lansdowne Crt, Grovedale VIC 3216 | -
P3 | PAL | GRANGE PARK-PROVENCE | Substation | 100 | 150 | 67 | 122.7174 | 122.7% | 22.7174 | 39000 | 1107.6 | Grange Park Dr, Waurn Ponds VIC 3216 | -
P3 | PAL | JOHNS BLK 16 8 | Substation | 50 | 75 | 11 | 60.9318 | 121.9% | 10.9318 | 41500 | 1178.6 | Johns Rd, Red Cliffs VIC 3496 | -
P3 | PAL | KNIGHTSBRIDGE-IRVINE | Substation | 200 | 300 | 141 | 252.9186 | 126.5% | 52.9186 | 37000 | 1050.8 | Knightsbridge Ave, Altona Meadows VIC 3028 | -
P3 | PAL | KOONANGURT ABIGAIL | Substation | 100 | 150 | 94 | 127.117 | 127.1% | 27.117 | 39000 | 1107.6 | Koonangurt Rd, Leopold VIC 3224 | -
P3 | PAL | MINNS-GISBORNE P2 | Substation | 100 | 150 | 59 | 124.0855 | 124.1% | 24.0856 | 39000 | 1107.6 | Minns Rd, Kurunjang VIC 3337 | -
P3 | PAL | MOONAH DUNLEA 6 | Substation | 50 | 75 | 70 | 62.0064 | 124% | 12.0064 | 37000 | 1050.8 | Russell Creek Walking Trail, Warrnambool VIC 3280 | -
P3 | PAL | NORTHVIEW SIMONS 23 | Substation | 100 | 150 | 86 | 121.8506 | 121.8% | 21.8506 | 39000 | 1107.6 | Northview Dr, Leopold VIC 3224 | -
P3 | PAL | NORTON-DUCAT 6 | Substation | 100 | 150 | 66 | 135.0868 | 135.1% | 35.0868 | 37000 | 1050.8 | Norton Dr, Mooroopna VIC 3629 | -
P3 | PAL | RODONI P20 | Substation | 50 | 75 | 49 | 62.8662 | 125.7% | 12.8662 | 39000 | 1107.6 | Main Rd, Hepburn VIC 3461 | -
Note on C4: Identifier for the asset
Note on D4: LV circuit or distribution substation
Note on E4: Continuous rating of the asset
Note on F4: Short-term rating of the asset
Note on G4: Number of customers impacted by the constraint
Note on H4: Peak demand on the asset
Note on I4: Percentage utilisation of the asset under maximum demand
Note on J4: Demand reduction (kW) required to fully address the constraint
Note on K4: Estimated cost for CP, PAL or UE to augment the network
Note on L4: Maximum contribution that is available for deffering augmentation by one year
Note on M4: Map of the location where solution is required
Note on O4: Does the solution fully address the constraint
Note on P4: Solution details e.g. Battery, Generator, Demand
Note on Q4: Maximum amount of demand reduction (kW) delivered by solution
Note on R4: Method(s) by which the solution will be dispatched
Note on S4: Length of notice time required to enact solution
Note on T4: Will the solution be available before summer 2022/2023
Note on U4: Expected recruitment rate
Note on V4: Success rate of recruited customer partaking in the solution